## Slide 1: Expanding M-TEER Treatable Anatomies: What can our current devices do?
Edwin Ho, MD
Assistant Professor of Medicine
Director, Structural Heart Imaging
Director, Echocardiography Lab
Co-Director, Heart Valve Center
Montefiore Medical Center, New York, USA
Notes: 10 min

## Slide 2: Disclosure of Relevant Financial Relationships
Edwin Ho, MD
Within the prior 24 months, I have had a relevant financial relationship(s) with an ineligible company(ies) listed below.
Nature of Financial Relationship | Ineligible Company
Advisor (not reimbursed) | Medtronic, Neochord, Half Moon, VDyne, Valgen, Anteris, Shifamed
Consultant (institutional contract, not directly reimbursed) | GE, Edwards Lifesciences, Abbott
Research grant/support | Philips

## Slide 3: Outline
Anatomic “suitability” for M-TEER
Case examples
Data on outcomes in suboptimal anatomy
M-TEER unmet needs

## Slide 4: Mitral TEER “suitable” vs “non-suitable”
Feldman T, et al. NEJM 2011; 364:1395
EVEREST
A2/P2
MVA >4cm2 (2D)
Coaptation depth ≤ 11mm
Coaptation length ≥ 2mm
2023
Hausleiter J, et al., EuroIntervention 2023;18:957

## Slide 5: Mitral TEER “suitable” vs “non-suitable”
Very good |  | “Ineligible”
Some (less than you would like) | Many | Not many
“Orange”
Who really fits here?

## Slide 6: Mitral TEER “suitable” vs “non-suitable”
Structural Heart 2021; 5(3):227
Success risk | Stenosis risk | Other factors
Extreme complexity Free leaflet <5mm Clefts Perforation/endocarditis | Rheumatic/radiation Severe MAC MVA <3.5cm2 | Access Imaging

## Slide 7: Commissural lesions

## Slide 8: Split/multiple jets

## Slide 9: Severe prolapse/Barlow’s

## Slide 10: Clefts

## Slide 11: Small(ish) MVA
MVA 2.9cm2
MG 3mmHg (HR 60bpm)

## Slide 12: No/poor TEE

## Slide 13: No femoral access
Fam N, Ho EC, et al., EuroIntervention 2017;13:284

## Slide 14: What does the data say?

## Slide 15: What does that data say? (EXPAND G4)
EXPAND G4
N=1164

## Slide 16: What does that data say? (EXPAND G4)
Rogers J, et al. JACC Card Int 2023; 16:1474
Risk of Stenosis
Risk of Inadequate Reduction
TEER Suitable
Moderate MR

## Slide 17: What does that data say? (EXPAND G4)
Risk of Stenosis
One of:
Severe MAC
Severe leaflet calcium
Annuloplasty
MVA <3.5cm2
Rogers J, et al. JACC Card Int 2023; 16:1474
Median clips = 1
Mean gradient 4.5 +/- 1.6 mmHg

## Slide 18: What does that data say? (EXPAND G4)
Rogers J, et al. JACC Card Int 2023; 16:1474

## Slide 19: What does that data say? (EXPAND G4)
Rogers J, et al. JACC Card Int 2023; 16:1474
Risk of Residual MR
One of:
Barlow’s
Bileaflet prolapse/flail
2 significant jets
Large gaps
Minimal leaflet tissue
Significant cleft
Median clips = 2

## Slide 20: What does that data say? (EXPAND G4)
Rogers J, et al. JACC Card Int 2023; 16:1474

## Slide 21: What does that data say? (CLASP IID)
Smith et al., JACC CI 2023; JCIN 7208

## Slide 22: What does that data say? (CLASP IID)
Smith et al., JACC CI 2023; JCIN 7208
Moderate or less
Mild or less

## Slide 23: What does the data say? (CHOICE-MI)
n = 767
high-prohibitive surgical risk
suboptimal TEER anatomy
216 had “bailout TEER”
Ben Ali W, et al. EJHF 2022; 24:887

## Slide 24: What does the data say? (CHOICE-MI)
Ben Ali W, et al. EJHF 2022; 24:887
Moderate or less
79.4%
Mild/trace
37.2%

## Slide 25: What does the data say? (CHOICE-MI)
Ben Ali W, et al. EJHF 2022; 24:887

## Slide 26: M-TEER unmet needs
Not enough tissue
Leaflet:annulus
Tissue quality
Degenerative
Endocarditis
Clear stenosis/stenosis risk
Rheumatic
Severe MAC/leaflet calcium
Residual MVA 2.7cm2
Mean gradient 7mmHg
(HR 83bpm)
From LA
From LV

## Slide 27: Summary
Anatomy treatable by M-TEER continues to expand
  Supported by reasonable observational outcomes
There is still an unmet need in truly M-TEER ineligible
  Not enough tissue
  Poor leaflet quality
  Clear stenosis
Thank you!